## Sheet1
Baseline assumptions
Feeder size (households) | 50
Avg demand per household (kW) | 2
Total feeder peak demand (kW) | 100
Genset runtime (hrs/day) | 3
Battery coverage of peak demand | 0.3
Diesel price (₹/litre) | 90
Status quo: diesel genset
Fuel cost per hour (₹) | 120
Daily fuel cost (₹) | 360
Monthly fuel cost (₹) | 10800
Genset upfront cost (₹) | 60000
Amortization (months) | 60
Monthly genset cost (₹) | 1000
Total monthly cost per household | 11800
Proposed: shared battery
Battery size needed (kWh) | 90
Battery cost per kWh (₹) | 15000
Total battery cost (₹) | 1350000
Cost per household (₹) | 27000
Monthly battery cost per household (₹) | 450
Software/maintenance per household per month (₹) | 100
Total monthly cost per household | 550
Comparison
Monthly savings per household (₹) | 11250
% cost reduction | 95.34%
Annual savings per household (₹) | 135000
Sustainability
Genset hours avoided per month | 90
Diesel litres per hour | 1.3
Emission factor (kg CO₂/litre) | 2.68
kg CO₂ avoided per household per month | 313.56
Sensitivity Check
Scenario | Battery Cost (₹/kWh) | Genset hrs/day | Savings
Low estimate | 10000 | 2 | 96.34%
Base case (ours) | 15000 | 3 | 95.34%
High estimate | 26000 | 4 | 92.6%
Battery replacement cost (₹, amortized over 96 months) | 14062.5